# LOST CREEK TOWER CHECK LIST

## Date	 10-2-07

#### Transferred Files	269-274

## Deleted Files 		262-268

|  | ### PRESSURE | ### LINE | ### S/N |
| --- | --- | --- | --- |
| ## HI Pure N2 | 1500 | 5 |  |
| 555 ppm CO2 | 0/1600 | 0/5 |  |
| 334 ppm CO2 | 0/1000 | 0/5 |  |
| 442 ppm CO2 | 0/400 | 0/4 |  |
| Ind N2 | 0/2400 | 0/4 |  |

|  | ### FLOW |
| --- | --- |
| ## Profiler sample cell (51) | 0/51 |
| Flux N2 (43) | 50/43 |
| Nafion N2 (51) | 0/51 |
| Profilers Ref cell (43) | 0/51 |
| Backflow Pressure | 0/3.5 |

| #### Battery Voltage | #### 24.8 |
| --- | --- |
| Amp Hours | 93.1/272.1 |
| Array/Load Current | 0/0 |
| Water/Snow Depth |  |
| Weather | Overcast |

Comments: