D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 10-22-08
Transferred Files
289-295
Deleted Files 

281-288
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	700
	4
	

	555 ppm CO2
	1000
	4
	

	334 ppm CO2
	700
	4
	

	442 ppm CO2
	900
	5
	

	Ind N2
	200/2200
	4
	


	
	FLOW

	Profiler sample cell   (51)
	41/51

	Flux N2                                    (43)
	35/43

	Nafion N2                     (51)
	57/51

	Profilers Ref cell        (43)
	31/43

	Backflow Pressure
	3.0/3.5


	Battery Voltage
	26.4

	Amp Hours
	167.7/8345.2

	Array/Load Current
	8.0/0213

	Water/Snow Depth
	Water higher than last week.

	Weather
	Partly cloudy/windy


Comments:     

