D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 10-25-07
Transferred Files
290-295
Deleted Files 

283
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1150
	5
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	32/43

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	25.8

	Amp Hours
	147.1/722.6

	Array/Load Current
	7.0/181

	Water/Snow Depth
	

	Weather
	Clear and Cold


Comments:     

