D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 10-29-08
Transferred Files
296-302
Deleted Files 

289-295
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	700
	4
	

	555 ppm CO2
	1000
	4
	

	334 ppm CO2
	700
	4
	

	442 ppm CO2
	800
	5
	

	Ind N2
	1400
	4
	


	
	FLOW

	Profiler sample cell   (51)
	0

	Flux N2                                    (43)
	35/43

	Nafion N2                     (51)
	51

	Profilers Ref cell        (43)
	35/43

	Backflow Pressure
	Off


	Battery Voltage
	26.2

	Amp Hours
	136.1/8481.5

	Array/Load Current
	7.0/0184

	Water/Snow Depth
	~2” of snow

	Weather
	Partly Cloudy


Comments:     LiCor and pump off
