D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 10-31-07
Transferred Files
Couldn’t collect, collect next week (298-300)
Deleted Files 

290-295
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1150
	5
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	50/43

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	25.2

	Amp Hours
	265.2/988.2

	Array/Load Current
	0/0

	Water/Snow Depth
	

	Weather
	Overcast, cool, wet


Comments:     Computer was off when I arrived.  It turned on fine.  I was unable to collect data because I couldn’t get ZIP drive to work.  I will try to collect data next week.
