D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 10-7-08
Transferred Files
275-280
Deleted Files 

268-274
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	900
	4
	

	555 ppm CO2
	1200
	5
	

	334 ppm CO2
	750
	4
	

	442 ppm CO2
	1100
	5
	

	Ind N2
	1600
	4
	


	
	FLOW

	Profiler sample cell   (51)
	15/51

	Flux N2                                    (43)
	38/43

	Nafion N2                     (51)
	51

	Profilers Ref cell        (43)
	46

	Backflow Pressure
	3.5


	Battery Voltage
	24.4

	Amp Hours
	146.3/7975.4

	Array/Load Current
	0/0

	Water/Snow Depth
	Water under Shed

	Weather
	Overcast and windy


Comments:     The profiler sample cell was at 15 and the pump was near zero and then the valve switched and pump pressure went to 3.5 and profiler sample cell went up to normal.  The water is raising in the creek and I am starting to wonder if there is a beaver dam downstream past where I can see from the bridge.
