D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 Sept 10, 2008
Transferred Files
247-253
Deleted Files 

240-246
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1150
	4
	

	555 ppm CO2
	1200
	5
	

	334 ppm CO2
	800
	4
	

	442 ppm CO2
	1250
	5
	

	Ind N2
	1800
	4
	


	
	FLOW

	Profiler sample cell   (51)
	45/51

	Flux N2                                    (43)
	35/43

	Nafion N2                     (51)
	45/51

	Profilers Ref cell        (43)
	35/43

	Backflow Pressure
	3.0/3.5


	Battery Voltage
	26.0

	Amp Hours
	189.0/7245.9

	Array/Load Current
	6.0/0156

	Water/Snow Depth
	

	Weather
	Partly cloudy


Comments:     

