D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 9-18-08
Transferred Files
254-261
Deleted Files 

247-253
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1100
	4
	

	555 ppm CO2
	1200
	5
	

	334 ppm CO2
	800
	4
	

	442 ppm CO2
	1200
	5
	

	Ind N2
	1000
	4
	


	
	FLOW

	Profiler sample cell   (51)
	0

	Flux N2                                    (43)
	35/43

	Nafion N2                     (51)
	50

	Profilers Ref cell        (43)
	28/43

	Backflow Pressure
	0


	Battery Voltage
	26.0

	Amp Hours
	204.3/7450.5

	Array/Load Current
	5.5/143

	Water/Snow Depth
	

	Weather
	Partly Cloudy, Windy


Comments:     LiCor and pump were off when I arrived.  Both are on.  I could turn the pump on by switching the control switch for it from ‘manual’ to ‘on’.  This did not work for the LiCor at first, but later did and it came on also.  Battery voltage seemed fine.   I left everything as it normally is.
