D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 9-19-07
Transferred Files
255-261
Deleted Files 

248-254
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1600
	5
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	51/43

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	25.4

	Amp Hours
	1.1/1.1

	Array/Load Current
	7.0/0079

	Water/Snow Depth
	

	Weather
	Partly Coudy


Comments:     Jonathan and Shelly replaced the batteries at Lost Creek last night.  The profiler is still not on.  I don’t know if they are coming back today to turn it on or not.
