D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 9-3-08
Transferred Files
240-246
Deleted Files 

234-239
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1250
	5
	

	555 ppm CO2
	1300
	5
	

	334 ppm CO2
	800
	4
	

	442 ppm CO2
	1350
	5
	

	Ind N2
	0/2500
	0/4
	M99029197


	
	FLOW

	Profiler sample cell   (51)
	19/51

	Flux N2                                    (43)
	43

	Nafion N2                     (51)
	0/51

	Profilers Ref cell        (43)
	45

	Backflow Pressure
	3.5


	Battery Voltage
	25.4

	Amp Hours
	221.8/7056.1

	Array/Load Current
	6.5/0166

	Water/Snow Depth
	

	Weather
	Partly Coudy


Comments:     There is one line that acts weird.  When the pump switches to it, the backflow pressure drops to 1 and the profiler sample cell drops to 19.
