## Slide 1: Creating a Disturbance in Northern WI Since 1998: Landsat Products and LiDAR Datasets
Bruce D. Cook
NASA Goddard Space Flight Center
Biospheric Sciences Laboratory
Notes: Focus on instrumentation specifications vs. eye candy

## Slide 2
Scaling ChEAS Flux Tower Observations
from Stand- to Landscape-level
+
+
=
Lost Creek
2000
Willow Creek
1998
WLEF
2006

## Slide 3: LiDAR Data Acquisition (2005/06)
Deciduous
Upland
Upland-Wetland
Catena
Clearcut
Mixed Forest
Grass
Coniferous Wetland
Shrub
Wetland
East-West cross-section
North-South cross-section
Hwy 182
Notes: First returns for 1 m slice at WLEF (1 km length)
Note differences in height (e.g., shrub vs forest) and fractional cover (e.g., coniferous wetland vs mixed forest) of plant communities

## Slide 4: Bruce Cook Biospheric Sciences Laboratory/Code 618
Background
  Biology, Soil Science/Meteorology, Forestry/Remote Sensing
  Biospheric Science/618 (May 2009--present)
Missions
  LDCM Deputy Project Scientist
Carbon Monitoring System
  Project Manager pilot project (forest biomass/change mapping)
Research Interests
  Instrument fusion (G-LiHT)
  LiDAR radiative transfer modeling
  Up-scaling of biological processes and CO2/CH4 exchange
  Field Cal/Val
LiDAR-derived feature heights, MD
Stand
Landscape
Region
http://earthobservatory.nasa.gov/blogs/fromthefield/
Siberia 2010
Maine 2009

## Slide 5
Bruce D. Cook, PI
Larry Corp, Ross Nelson, Betsy Middleton, Jon Ranson, Jeff Masek, Doug Morton
NASA Goddard Space Flight Center, Biospheric Sciences Laboratory
Scanning/Profiling
LiDAR
G-LiHT: Goddard’s LiDAR, Hyperspectral and Thermal Airborne Imaging System
Notes: Focus on instrumentation specifications vs. eye candy

## Slide 6: What Makes G-LiHT Unique?
Off-the-shelf instrumentation (lower costs, higher TRL)
Surface temperature observations
Downwelling irradiance measurements
Profiling and scanning LiDAR instruments
Eye-safe lasers at two wavelengths (905, 1550 nm)
Portability (small, lightweight, non-ITAR)
Versatility (adaptable to many platforms, low power)
Low operating costs (~$1/ha for acquisition and processing)

## Slide 7: I&T
Fabricated a wing-mounted pod with LaRC that is compatible with all Cessna 206
I&T on other platforms (internal view port)
NASA UC-12B (King Air)
Piper Cherokee
Instrument package
Cessna 206H platform (LaRC)
In-flight near York River, VA
Pod
(bottom view)
Boresight error ~15 cm in pod

## Slide 8: Passive Optical-LiDAR-Thermal Synergy

## Slide 9: Case Study: Biomass Estimation
  R2 = 0.72
  SE = 53 Mg/ha
  R2 = 0.78
  SE = 47 Mg/ha
Photon Counting
Discrete ALS
Rosette et al., Silvilaser 2011
Weyerhaeuser Loblolly Pine Plantation, NC

## Slide 10: CMS Pilot: Biomass Change
Biomass = f(LiDAR metrics)
Aboveground biomass
(Mg ha-1)
Stand age
(years since disturbance)
Parker Track site means:
Age 13 years
Biomass 104 Mg ha-1
ANPP 4.4 Mg ha-1 y-1
Annual ANPP
(space for time substitution)
Annual ANPP
Stand age
Biomass

## Slide 11: June 2012 G-LiHT Acquisition
WLEF landscape (growth, disturbance)
Willow Creek landscape (pre-harvest)

## Slide 12: Canopy Height

## Slide 13: Calibrated Reflectance (1550 nm)

## Slide 14
GIMMS AVHRR NDVI anomalies with a negative trend < -0.05, p < 0.02 from 1982 through 2007 (8 x 8 km black quadrangles) overlaid upon Landsat false-color composite images for the same time period. Grey cross hatched polygon indicates the bounds of the Chequamegon-Nicolet National forest. Lower inset shows the geographic extent of forest cover types throughout the region. Note, the forest cover is primarily Aspen-birch that has had insect damage (transparent green) and Spruce-fir stands that have had mortality (transparent orange).
A multi-decade vegetation productivity decline in northern Wisconsin and Minnesota forests forced by increased rates of disturbance (submitted to Landscape Ecology, Neigh et al. 2012)
Next Slide
Extent

## Slide 15: Decreasing Regional NDVI Trends